# RuggedThermocoupleThermometer Kit-(Type K Probe)

Model 25050

Probe with reduced tip

Model 25051

with surface probe

| Measuring range (probe) | -76 ° F to 1112°F(-60 ° C to 600°C), dependent upon probe |
| --- | --- |
| Scope of work(basic unit) | 32°F to 122°F (0°C to 50°C） |
| display resolution | 0.1°F/°C 33.6 to 391.8°F (-9.9 to 199.9°C), 391.9°F (200°C) above 1.0°F/°C |
| precision | ±1% of reading or1.8°F (1°C), whichever is greater, ranging from-4 ° F to 284°F (-20 ° C to 140°C）。2% of readings |
| Battery/life | CR2032 lithiumbattery/100 hours continuous use |
| Body size | 3 x 1.7 x 0.8 inches (78 x) 42 x 20 mm) |
| weight | 1.42 ounce (40.15 g), includingbatteries |
| authentication | CE Mark, NSF |
| IP rating | IP54 splash proof |

Calibrating Pat allows adjustingtemperature ranges for more accurate readings

- Ruggedprotective rubber housing

- Ideal for food service and quality control inspectors

- NSFcertification

- Switchable °F/°C

- Three interchangeableK probes available

- LargeLCD display

- IP54 splash proof

Model 25052

probe with needle

Kit includes 25003 base unit, protective cover and 1 probe. Additional probes are sold separately.

Thermometers andprobes are also available separately.

SS 25050-X Page 1 of 2 17 I1

DeltaTrakregisteredquality management systemaccording to ISO9001:2008

Model 25003

elementary unit

rugged

Model 25054

Reduced Tip Probe

K-probe

(4 "long, 101.6mm, tip diameter 2.33mm w/39.56mm cable)

-76 ° F to 752°F (-60 ° C to 400°C)

(7.5"Long, 190 mm w/39.56 mm cable)

-76 ° F to 752°F (-60 ° C to 400°C)

EMC/RFI: If the unit is in radio range

Model 25056

needle probe

Model 25055

surface probe

Model 25053

rubber housing

The frequency electromagnetic field strength is about 3 volts per meter, but the performance of the instrument is not permanently affected.

(4.4"Long, 112 mm, tip diameter 1.6 mm w/39.56 mm cable)

-76 ° F to 1112°F (-60 ° C to 600°C)

SS 25050-X Page 2 of 2 17 I1